## REVENUE PROTECTION IN BRAZIL

# Introdução

## Informe o motivo da discussão

## Identifique-se

# IURPA IN BRAZIL

## ALL UTILITIES HAVE RECEIVED A LETTER INTRODUCING IURPA WITH A SUMMARY OF IURPA’S OBJECTIVES AND IURPA`S NEWS

## PROBLEMS WITH COMMUNICATION AMONG RP PEOPLE

### BRAZILIANS ARE AFRAID OF EXCHANGING INFORMATION

### BRAZILIANS ARE UNDER TOO MUCH PRESSURE TO PRODUCE RESULTS: THERE IS NO TIME LEFT TO SPEND THINKING, LEARNING AND PLANNING

# NEW RECOVERING RULES

## THEFT CASES - WE CAN RECOVER:

### ALL THE TIME IF WE HAVE CONSUPTION FILE

## METERING ERRORS:

### IF THEY ARE AGAINST THE UTILITY:

### WE CAN ONLY RECOVER THE MONTH WHERE WE HAVE DETECTED THE ERROR

### IF THEY ARE AGAINST THE CUSTOMER:

### WE MUST RETURN THE ENTIRE DURATION OF THE ERROR

## NON-TECHNICAL LOSSES

## TOTAL (TECHNICAL AND NON-TECHNICAL) LOSSES:

## BRAZIL AVERAGE  16,5%

## NON-TECHNICAL LOSSES:

## FROM ABOUT 0.5% UP TO 25% (DEPENDING ON THE UTILITY)

## TOTAL NON-TECHNICAL LOSSES:

## 1.2 BILLION US$ / YEAR

## NON-TECHNICAL LOSSES

## WE USE ABOUT 13% OF THE TOTAL ENERGY USED IN THE U.S.A.

## 95% OF OUR ELECTRIC ENERGY COMES FROM HYDROELETRIC POWER PLANTS

## OUR NATIONAL ELECTRIC SYSTEM IS INTEGRATED

## NON-TECHNICAL LOSSES

## NON-TECHNICAL LOSSES

## INCREASING RAPIDLY DURING 2001

## MAIN CAUSES:

## HEAVY PENALTIES IF CUSTOMER CONSUPTION IS GREATER THAN THE LEVEL GIVEN BY THE RATIONING RULES

## IN SOME REGIONS REVENUE PROTECTION DEPARTMENTS ARE NOT WELL IMPLEMENTED

## NON-TECHNICAL LOSSES

## INCREASING RAPIDLY DURING 2001

## MAIN CAUSES (Cont.):

## CULTURAL ISSUE:STEALING FROM THE  UTILITIES IS OFTEN CONSIDERED NORMAL AND RIGHT (ALTHOUGH ACCORDING TO BRAZILIAN LAW IT IS A CRIME)

## PROBLEMS OVERVIEW

### UTILITIES MUST GENERATE PROFIT QUICKLY

### LACK OF PLANNING

### LACK OF TRAINING

### INADEQUATE EQUIPMENT

### CONTRACTORS

### SHORT-TERM ACTIONS

### DOWN-SIZING

### MOST UTILITIES ARE WORKING HARDER BUT LOSSES ARE STILL INCREASING

## TRAINNING PEOPLE

## THERE ARE NO SPECIALIZED CONSULTING SERVICES DEALING WITH NON-TECHNICAL LOSSES

## WORKERS LEARN ON THE JOB:

### THERE ARE NO STANDARD RULES OR PROCEDURES

### RECOVERY COULD BE MORE SIGNIFICANT IN MANY DETECTED THEFT CASES IF WORKERS HAD PROPER FIELD TRAINNING

# CONTRACTORS

# REVENUE PROTECTION AND NEW TECHNOLOGY

## MOST OF THE REVENUE PROTECTION DEPARTMENTS DO NOT HAVE

## SPECIFIC EQUIPMENT AND/OR

## COMPUTER TECHNOLOGY

## TO HELP IDENTIFY GENERAL PROBLEMS

# REVENUE PROTECTION AND NEW TECHNOLOGIES:SPECIAL DEVICES

## A WAY TO IMPROVE THE SAFETY CONDITIONS,

## EFFICIENCY AND EFFECTIVENESS OF OUR

## INSPECTION TEAMS

## CHECK METERS WITH REMOTE RADIO READING

### SOME UTILITIES ARE USING THESE REGULARY

### VERY USEFULL AND RELIABLE

### GIVES THE EXACT QUANTITY OF ENERGY        	  BEING LOST

# REVENUE PROTECTION AND NEW TECHNOLOGIES:SPECIAL DEVICES

## A WAY TO IMPROVE THE SAFETY CONDITIONS,

## EFFICIENCY AND EFFECTIVENESS OF OUR

## INSPECTION TEAMS

## BY-PASS DETECTORS

## STILL UNDER TESTING

## GOOD RESULTS IN SPECIFIC CASES

## INTERNAL VISION CONDUIT DEVICE

## GOOD RESULTS IN SPECIFIC CASES

# REVENUE PROTECTION AND NEW TECHNOLOGIES:SPECIAL DEVICES

## A WAY TO IMPROVE THE SAFETY CONDITIONS,

## EFFICIENCY AND EFFECTIVENESS OF OUR

## INSPECTION TEAMS

## SEALS

## POLICARBONATE, STEEL AND ALUMINUM

# MAIN CAUSES OF NON-TECHNICAL LOSSES

## SOME UTILITIES LACK METERS FOR ALMOST 20% OF THE TOTAL CUSTOMERS

## METER BY-PASS (MORE USUAL)

## METER TAMPERING

## BAD METERS - SOME UTILITIES DO NOT HAVE TESTING LABORATORIES AND DO NOT REPLACE OLD METERS

# MAIN CAUSES OF NON-TECHNICAL LOSSES

## ILLEGAL CONNECTIONS

## DATA FILE ERRORS

## FIXERS

## SOME FIXERS ARE COMPANIES - THEY SELL

## SPECIALIZED SERVICES TO “SAVE” ENERGY AND SOMETIMES THE CUSTOMER DOES NOT EVEN KNOW ABOUT THE FRAUD

# SOME SPECIFIC PROBLEMS

## SOME UTILITIES MAKE TOO MUCH NOISE WHEN THEY FIND A CASE OF FRAUD

### PEOPLE’S REACTION: MANY LAWSUITS AGAINST UTILITIES

## FATAL OR SEVERE ACCIDENTS INVOLVING PEOPLE TRYING TO MAKE ILLEGAL LINE CONNECTIONS:

### MANY LAWSUITS AGAINST UTILITIES

# SOME SPECIFIC SOLUTIONS

## AREAS OF LOW INCOME PEOPLE (SLUMS)

## THEY ARE A SOCIAL PROBLEM

## THE UTILITIES MUST INTEGRATE THE WHOLE SOLUTION WITH OTHER ORGANIZATIONS

## THE UTILITIES NEED TO INSTALL THE LINE AND CUSTOMER INSTALATIONS WITHOUT COSTS TO THE CUSTOMERS

## AFTER THIS, GENERALLY, THE LOSSES IN THESE AREAS ARE LOWER THAN OTHER HIGHER INCOME AREAS

# SOME SPECIFIC SOLUTIONS

## FOR “SPECIAL” CUSTOMERS WHO ALWAYS

## INVENT A NEW WAY TO STEAL ENERGY

## IN ORDER TO RECONNECT IT IS MANDATORY

## TO CONSTRUCT THE NEW INSTALLATION

## ON THE STREET

## COMPRISING OF A SPECIAL METERING BOX

## (WHICH HAS A SPECIAL LENS ON THE  COVER)

## INSTALLED ON THE LINE POLE (10 FEET HIGH)

## WICH WE ARE ABLE TO READ FROM THE

## GROUND

# THANK YOU FOR YOUR ATTENTION

## LUIZ   FERNANDO   ARRUDA

## TEL 00 55 21 31 33295520

## arrudalf@cemig.com.br

## http://www.cemig.com.br